| [LOGO] | Construction Phase Plan Procedure | Reference; [DOC REF]. Revision; [REV]. Date; [DATE]. |
| --- | --- | --- |

Introduction

This procedure outlines the standards for developing and maintaining the Construction Phase Plan (CPP) for all relevant projects. The CPP is a statutory requirement under the Construction (Design and Management) Regulations 2015 (CDM). Its primary goal is to ensure the successful delivery of high-quality work while managing health, safety and environmental risks, and complying with all relevant UK regulations.

Scope

This procedure applies to all construction projects undertaken by [COMPANY NAME] where a CPP is required. It covers every stage of the project life cycle, from initial planning and site preparation through to construction and final handover.

Responsibilities

Project Manager

- Overseeing the overall project, including the initial creation and ongoing maintenance of the CPP as a living document.

- Ensuring adherence to the CPP across the entire team and all subcontractors engaged on site.

- Delegating specific safety and quality tasks to competent team members while retaining overall accountability for safe delivery.

Site Supervisor

- Managing day-to-day operations on site to ensure all work matches the safe systems of work outlined in the CPP.

- Ensuring compliance with quality standards and coordinating with the Project Manager to report progress or deviations.

- Conducting site inductions for all staff and visitors based on the specific risks and control measures in the CPP.

Health and Safety Adviser

- Conducting inspections and monitoring safety measures to verify site compliance.

- Reporting findings and audit results to the Project Manager to support continuous improvement.

- Providing technical advice on CDM 2015 to ensure the CPP remains legally robust.

Construction Team

- Carrying out work in strict accordance with the guidelines and safety procedures in the CPP.

- Reporting any unforeseen site hazards or concerns immediately to the Site Supervisor.

Client

- Approving project plans and providing clear feedback during design and initiation to ensure the scope is correctly defined.

- Ensuring the project meets expectations through regular communication and participation in milestone reviews.

Project Planning and Initiation

- Conducting a detailed assessment of the site and existing structures to identify integrity issues and constraints.

- Defining the project scope and deliverables in close collaboration with the client to prevent scope creep.

- Developing a robust project schedule that includes key milestones, lead times for materials, and fixed deadlines.

- Developing a quality plan that outlines inspection procedures and acceptance criteria, and identifying quality risks with mitigation strategies.

Design and Specifications

- Engaging qualified designers to ensure the design addresses structural safety and meets the project brief.

- Ensuring design compliance with all building codes, planning permissions, and any consent requirements.

- Selecting compatible materials that meet the required quality and specification, and implementing a formal procurement process to source from approved suppliers.

Pre-Construction Activities

- Obtaining all necessary permits from local authorities and relevant bodies before any physical work begins.

- Preparing the site with safety measures including temporary structures, welfare facilities and secure fencing as detailed in the CPP.

- Communicating project objectives to stakeholders, including the local community and regulatory bodies, to manage expectations.

Construction Phase

- Assigning qualified management to oversee activities and monitor the construction schedule.

- Conducting regular inspections using standardised checklists to verify the quality of workmanship and adherence to specifications.

- Documenting all non-conformances and ensuring corrective actions are implemented and recorded.

- Ensuring all materials and finishes are applied in accordance with the specification and any specialist recommendations.

Project Closeout

- Conducting a final thorough inspection to verify that every aspect of the project has been completed to the required standard.

- Preparing a comprehensive handover pack for the client, including project records, as-built drawings, warranties and maintenance guides.

- Conducting a post-project evaluation to identify lessons learned and inform future projects.

Review and Updating of the CPP

- Reviewing the CPP regularly throughout the construction phase. If site conditions change or new risks are identified, the Project Manager must update the document immediately.

- Ensuring the latest version of the CPP is always available on site for inspection by the HSE or other regulatory bodies.

Signed: ......................................................    Date: ........................

Name: [NAME]

Position: [POSITION - e.g. Managing Director]