| [LOGO] | Risk Assessment | [DOC REF] Fire Safety |
| --- | --- | --- |

| Company | [COMPANY NAME] | Assessment Ref. | [DOC REF] |
| --- | --- | --- | --- |
| Assessment Title | Fire Safety | Revision | [REV] |
| Assessed By | [ASSESSOR NAME / ROLE] | Assessment Date | [DATE] |
| Location / Scope | [LOCATION / SCOPE] | Review Date | Within 12 months or on significant change |

Risk Rating Methodology (5 × 5): Risk = Likelihood × Severity

| L ↓ / S →; 1; 2; 3; 4; 5. 5; 5; 10; 15; 20; 25. 4; 4; 8; 12; 16; 20. 3; 3; 6; 9; 12; 15. 2; 2; 4; 6; 8; 10. 1; 1; 2; 3; 4; 5. | Low (1-4); Acceptable - maintain existing controls and monitor.. Medium (5-9); Tolerable - reduce so far as is reasonably practicable.. High (10-15); Substantial - additional controls required before proceeding.. Very High (16-25); Intolerable - stop activity; immediate action required.. |
| --- | --- |

Fire Safety Risk Assessment

Initial Risk = risk before / with baseline controls.  Residual Risk = risk once all listed controls are in place.

| Ref | Hazard | Who might be harmed & how | L | S | R | Control measures | L | S | R | Action owner / target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F1 | Electrical ignition sources | All staff, visitors and contractors - burns, smoke inhalation or fatality from fire originating at faulty, overloaded or misused electrical equipment. | 3 | 4 | 12 | - Fire risk assessment maintained under the Regulatory Reform (Fire Safety) Order 2005 - Fixed wiring inspected and tested (EICR) on a 5-year cycle - Portable appliances PAT tested annually - No daisy-chaining of multi-way adaptors; sufficient sockets provided - Heaters and chargers switched off / unplugged when unattended - Damaged equipment removed from use and reported - Introduce logged visual pre-use checks of portable equipment - Prohibit personal heaters unless individually risk assessed | 2 | 4 | 8 | [OWNER / DATE] |
| F2 | Accumulation of combustible materials | All occupants - rapid fire growth and spread from paper, cardboard, packaging and general waste. | 3 | 4 | 12 | - Good housekeeping regime maintained throughout - Waste removed daily and not allowed to accumulate - Combustibles stored away from ignition sources and escape routes - Add a housekeeping / fuel-load check to the monthly H&S walk | 2 | 4 | 8 | [OWNER / DATE] |
| F3 | Flammable liquids and aerosols | Staff and cleaning operatives - flash fire and accelerated fire spread from cleaning products, sanitiser and aerosols. | 2 | 4 | 8 | - Only small quantities held on site - Stored in a metal cabinet away from ignition sources - COSHH assessed; kept clear of heat sources - Confirm hand-sanitiser stations are sited away from ignition sources | 1 | 4 | 4 | [OWNER / DATE] |
| F4 | Means of escape obstructed or inadequate | All occupants, particularly mobility-impaired persons - entrapment, delayed evacuation or fatality. | 3 | 5 | 15 | - Escape routes and final exits kept clear at all times - Fire doors unobstructed, self-closing and never wedged open - Final exits openable without a key from the inside - Escape signage to BS EN ISO 7010 in place - Introduce a recorded weekly escape-route inspection - Replace any missing or faded escape / exit signage | 1 | 5 | 5 | [OWNER / DATE] |
| F5 | Failure to detect fire and warn occupants | All occupants - delayed escape and smoke inhalation if a fire is not detected or the alarm not raised. | 2 | 5 | 10 | - Automatic fire detection and alarm system installed - Weekly alarm test from a rotating call point - System serviced 6-monthly by a competent contractor - Alarm audible throughout the premises - Log all weekly tests and services - Consider a visual alarm / beacon for hearing-impaired persons (see Vulnerable Persons RA) | 1 | 5 | 5 | [OWNER / DATE] |
| F6 | Inadequate firefighting equipment | Staff attempting first-aid firefighting - burns from using the wrong or a defective extinguisher. | 2 | 3 | 6 | - Correct extinguishers provided (CO2 at electrical risks, water / foam elsewhere) - Sited on escape routes and clearly signed - Serviced annually with a documented monthly visual check - Nominate fire marshals and train them in extinguisher selection and use | 1 | 3 | 3 | [OWNER / DATE] |
| F7 | Persons unable to evacuate unaided | Disabled, mobility-impaired, expectant, lone or new staff and visitors - entrapment during evacuation. | 3 | 5 | 15 | - Fire marshals appointed to sweep and assist - Evacuation procedure displayed; assembly point designated - Visitors signed in and out; escorted where required - Personal Emergency Evacuation Plans (PEEPs) prepared where a need is identified - Complete PEEPs for all identified persons - Run and record a 6-monthly evacuation drill (see Vulnerable Persons RA) | 1 | 5 | 5 | [OWNER / DATE] |
| F8 | Lack of fire safety awareness / training | All staff - inappropriate response and delayed evacuation through lack of knowledge of the fire procedure. | 3 | 4 | 12 | - Fire induction given to all new starters - Annual refresher for all staff - Fire marshals given additional training - Fire action notices displayed on notice boards - Maintain a fire training matrix - Close out actions arising from each drill debrief | 2 | 4 | 8 | [OWNER / DATE] |

This risk assessment must be reviewed within 12 months, following any incident or near miss, on significant change to the premises, staff, equipment or working practices, or where there is reason to believe it is no longer valid.

| Assessed by (sign) | Date | Reviewed by (sign) | Date |
| --- | --- | --- | --- |